## Slide 1: OECD TG 471
Bacterial Reverse Mutation Test
Or Ames test
by
Dr. Muhammad Asif

## Slide 2: Introduction:
Purpose:
The bacterial reverse mutation test uses amino-acid requiring strains of Salmonella typhimurium and Escherichia coli to detect point mutations, which involve substitution, addition or deletion of one or a few DNA base pairs
Initial considerations:
The bacterial reverse mutation test utilises prokaryotic cells, and is commonly

## Slide 3
employed as an initial screen for genotoxic activity and, in particular, for point mutation-inducing activity. Some shortcomings of mutagenic agents which are not detected by this test, and an overestimation of mutagenic activity are also seen. Mammalian mutation tests may be used in case when bacterial mutation test is not appropriate for certain classes of chemicals.

## Slide 4: Bacterial Reverse Mutation Test
Principle of the test method:
The principle of this bacterial reverse mutation test is that it detects mutations which revert mutations present in the test strains and restore the functional capability of the bacteria to synthesize an essential amino acid. The revertant bacteria are detected by their ability to grow in the absence of the amino acid required by the parent test strain.
.

## Slide 5
Suspensions of bacterial cells are exposed to the test substance in the presence and in the absence of an exogenous metabolic activation system
Several procedures for performing the bacterial reverse mutation test have been described. Among those commonly used are the plate incorporation method , the preincubation method, the fluctuation method, and the suspension method. Modifications for the testing of gases or vapors have been described.

## Slide 6
The procedures described in this guideline pertain primarily to the plate incorporation and preincubation methods. Either of them is acceptable for conducting experiments both with and without metabolic activation. Compounds detected more efficiently by preincubation method include short chain aliphatic nitrosamines, divalent metals, aldehydes, azo-dyes and diazo compounds, pyrollizidine alkaloids, allyl compounds & nitro compounds.

## Slide 7
Some mutagen compounds are not detected by using standard procedures of plate incorporation and preincubation thus are called as “special cases” and are detected by alternative methods. These include azo-dyes and diazo compounds, gases and volatile chemicals, and glycosides.

## Slide 8: Description of method:
Preparations:
Bacteria:
Fresh cultures of bacteria are grown up to the late exponential or early stationary phase of growth (approximately 109 cells per ml). Late stationary phase culture should not be used. Cultures used in the experiment should contain a high titre of viable bacteria. The titre may be demonstrated either from historical control data.

## Slide 9
on growth curves, or in each assay through the determination of viable cell numbers by a plating experiment
The recommended culture temperature is 37°C.
At least five strains of bacteria should be used, including four strains of S. typhimurium that have been reliable and reproducibly responsive between laboratories.

## Slide 10
Amino-acid requirement for growth should be demonstrated for each frozen stock culture preparation (histidine for S. typhimurium strains, and tryptophan for E. coli strains).
These four strains have GC base pairs at the primary reversion site. Certain oxidising mutagens, cross-linking agents and hydrazines which may not be detected by above four strains, may be detected by E.coli WP2 strains or S. typhimurium TA102 which have an AT base pair at the primary reversion site.

## Slide 11
Other phenotypic characteristics namely: the presence or absence of R-factor plasmids where appropriate [i.e. ampicillin resistance in strains TA98, TA100 and TA97a or TA97, WP2 uvrA and WP2 uvrA (pKM101), and ampicillin + tetracycline resistance in strain TA102]; the presence of characteristic mutations (i.e. rfa mutation in S. typhimurium through sensitivity to crystal violet, and uvrA mutation in E. coli or uvrB mutation in S. typhimurium, through sensitivity to ultraviolet light).

## Slide 12
The strains should yield spontaneous revertant colony plate counts within the expected frequency ranges.
Medium:
An appropriate minimal agar (e.g. containing Vogel-Bonner minimal medium E and glucose) and an overlay agar containing histidine and biotin or tryptophan, to allow for a few cell divisions, is used.

## Slide 13
Metabolic activation:
Bacteria are exposed to the test substance both in the presence and absence of an appropriate metabolic activation system which are chosen on the basis of class of chemicals being tested. The most commonly used is a cofactor supplemented post-mitochondrial fraction (S9) prepared from the livers of rodents treated with enzyme-inducing agents such as Aroclor 1254 or a combination of phenobarbitone and ßnaphthoflavone.

## Slide 14: Test substance/Preparation:
Solid test substances are dissolved or suspended in appropriate solvents or vehicles and diluted if appropriate prior to treatment of the bacteria. Fresh preparations should be employed unless stability data demonstrate the acceptability of storage.
Test Conditions: The solvent/vehicle should not be chemically reactive towards the test substance and must be compatible with the survival of the bacteria and the S9 activity.

## Slide 15
It is recommended to prefer aqueous solvent/vehicle and then water free organic solvents if test substance is water unstable.
Exposure concentrations:
Criteria to determine the highest amount of test substance to be used are cytotoxicity & solubility in the final treatment mixture, which may be determined in preliminary experiment. Cytotoxicity may be detected by a reduction in the number of revertant colonies, a clearing or diminution of the background lawn, or the degree of survival of treated cultures,

## Slide 16
this cytotoxicity may be altered by the presence of metabolic activation systems. Insolubility may be assessed as precipitation in the final mixture under the actual test conditions and evident to the unaided eye.
The recommended maximum test concentration for soluble non-cytotoxic substances is 5 mg/plate or 5 µl/plate, while for non-cytotoxic substances that are not soluble at 5 mg/plate or 5 µl/plate, one or more concentrations tested

## Slide 17
should be insoluble in the final treatment mixture. Concentration above this value may be considered when test substance contains potentially mutagenic impurities.
The precipitate should not interfere with the scoring. At least five different analysable concentrations of the test substance should be used with approximately half log (i.e. √10) intervals between test points for an initial experiment.

## Slide 18: Controls:
Concurrent strain-specific positive and negative (solvent or vehicle) controls, both with and without metabolic activation, should be included in each assay. Positive control reference substance (containing test substance), are different for assays employing a metabolic activation system or without it selected on the basis bacterial strain used. Negative controls are also used with only vehicle in it and dealt in same way as the treatment groups.
.

## Slide 19
Procedure:
Treatment with test substance:
Plate incorporation method without metabolic activation: test solution 0.05 ml or 0.1 ml, fresh bacterial culture 0.1ml (containing approximately 108 viable cells), and sterile buffer 0.5ml are mixed with 2.0 ml of overlay agar.

## Slide 20
Plate incorporation method with metabolic activation:
metabolic activation mixture 0.5ml containing an adequate amount of post-mitochondrial fraction (in the range from 5 to 30% v/v in the metabolic activation mixture) are mixed with the overlay agar (2.0 ml), together with the bacteria and test substance/test solution. Above contents of overlay agar mixture of each tube are mixed and poured over the surface of an already prepared

## Slide 21
minimal agar plate and allowed to solidify before incubation.
Pre-incubation method:
The test substance/test solution usually 0.05 or 0.1 ml is mixed with 0.1ml of test strain (containing approximately 108 viable cells), 0.5 ml of S9-mix or sterile buffer and pre-incubated for 20 or more minutes at 30°-37°C prior to mixing with overlay agar and are aerated by using a shaker during pre-incubation. This mixture is then mixed with 2.0ml of overlay agar.

## Slide 22: Incubation:
All plates in a given assay should be incubated at 37°C for 48-72 hours. After the incubation period, the number of revertant colonies per plate is counted.
Data and Reporting:
Treatment of results:
Data for presented as number of revertant colonies/plate for both positive and negative control are given.

## Slide 23
Individual plate counts, the mean number of revertant colonies per plate and the standard deviation should be presented for the test substance and positive and negative controls
There is no requirement for verification of a clear positive response, but equivocal results should be clarified by preferably using a modification of experimental conditions. Negative results need to be confirmed or justification should be provided if confirmation is not necessary.

## Slide 24: Evaluation & interpretation of results
Biological relevance of the results should be considered first. Statistical methods should not be only determining factor for evaluation of results but used as an aid in evaluation of results. Criteria for determining a positive result (mutagenic strain) are concentration-related increase over the range tested and/or a reproducible increase at one or more concentrations in the number of revertant colonies per plate in at least one strain with or without metabolic activation system.

## Slide 25
A test substance for which the results do not meet the above criteria is considered non-mutagenic in this test. Positive results from the bacterial reverse mutation test indicate that a substance induces point mutations by base substitutions or frameshifts in the genome of either Salmonella typhimurium and/or Escherichia coli. Negative results indicate that under the test conditions, the test substance is not mutagenic in the tested species.

## Slide 26: Test report:
The test report must include the following information:
Test substance:
- identification data and CAS no., if known;
- physical nature and purity;
- physicochemical properties relevant to the conduct of the study;
- stability of the test substance, if known.
Solvent/Vehicle:
- justification for choice of solvent/vehicle;

## Slide 27
- solubility and stability of the test substance in solvent/vehicle, if known.
Strains:
- strains used;
- number of cells per culture;
- strain characteristics.
Test conditions:
- amount of test substance per plate (mg/plate or µg/plate) with rationale for selection of dose and number of plates per concentration;

## Slide 28
- media used;
- type and composition of metabolic activation system, including acceptability criteria; - treatment procedures.
Results:
signs of toxicity;
- signs of precipitation;
- individual plate counts;
- the mean number of revertant colonies per plate and standard deviation;
.

## Slide 29
- dose-response relationship, where possible;
- statistical analyses, if any;
- concurrent negative (solvent/vehicle) and positive control data, with ranges, means and standard deviations;
- historical negative (solvent/vehicle) and positive control data, with e.g. ranges, means and standard deviations.
Discussion of the results.
Conclusion.

## Slide 31
Definition:
Reverse mutation test in either Salmonella typhimurium or Escherichia coli detects mutation in an amino acid requiring strain (histidine or tryptophan, respectively) to produce a strain whose growth is independent of an outside supply of the amino acid.
Point mutations are changes in one or a small number of base pairs in a DNA sequence. Point mutations may result from base pair substitutions or from small insertions or deletions.
Base pair substitution mutagens are agents that cause a base change in DNA. In a reversion test this change may occur at the site of the original mutation, or at a second site in the bacterial genome.
Frameshift mutagens are agents that cause the addition or deletion of one or more base pairs in the DNA, thus changing the reading frame in the RNA

## Slide 32
His neg bacteria + test subs +metabolic system are mixed
Overlay Agar+ histidine in which mixture is added
Overlay agar with mixture is poured on minimal agar
;;;;;;;;;;
Incubated
Incubated
His positive, inc growth means mutagen
No growth means non-mutagen
Ames test by plate incorporation method with metabolic system
Minimal agar

## Slide 33
The End