Chapter # 02

General principle and methods of microbial assays (Turbid metric Method, Cylinder plate method)

Subject:

Pharmaceutical Microbiology

Subject Supervisor:

Prof. Dr. Naveed Akhter

Department of Pharmacy

The Islamia University of Bahawalpur

Contents:

- Definitions.

- Indications of Bioassay

- Purpose of Bioassay

- Principles of Bioassay

- Requirements

- Methodologies

- Laboratory determination of microbial sensitivity to antibiotics.

- Development of an antibiotic.

- Present status of Assay Performance.

DEFINITIONS

1.1 Assay:

It is the qualitative test for the determination of purity of a substance by comparing it with the pure compound.

A. Chemical assay

It is the study of the separation, identification and quantification of the chemical components of natural and artificial materials.

- Calorimetry

- Spectrophotometry

- Flourimetry

- Chromatography

B. Bioassay:

Estimation of the concentration / potency of a substance by measuring its biological response in living systems

i.e.

Observation of pharmacological effects on:

- Living tissues, or cells

- Microorganisms

- Animals

C. Microbiological assay:

The term designates a type of biological assay specifically performed with microorganism

e.g.  Bacteria, fungi, yeast etc.

1.2. Minimum inhibitory concentration (MIC):

“The lowest concentration of a compound (antibiotic) that still inhibits the growth of certain bacterial strains.”

Thus, MIC is a standard used to determine the effectiveness of an anti-microbial agent

.

1.3. Minimumlethal concentration (MLC):

“It is the minimum concentration at which a compound is lethal to microorganism.”

Antimicrobials will normally kill a microorganism at concentration 2 - 4 times their inhibitory concentration.

1.4. Purity

It is the method of quantitatively determining the concentration of desired substance in compound by comparing it with pure compound

1.5. Break point concentration:

A breakpoint is a chosen concentration (mg/L) of an antibiotic, which defines whether a species of bacteria is susceptible or resistant to the antibiotic.

1.6. Reference standards/substance:

Substance whose activity has been precisely determined with reference to the corresponding International Standards or International Reference Preparation

1.7. Sensitivity:

Indicates the dose of agent that should be appropriate for killing the strains of microorganisms.

1.8. Resistant:

This indicates that microorganism is unlikely to respond to the anti-microbial agent. It is failure of response of anti-microbial caused by specific strains of microorganism.

1.9. Intermediate:

Referred to as moderately resistant, moderately susceptible to the agent.

2. INDICATIONS FOR BIOASSAY:

Assay is needed when:

- Active principle of drug is unknown e.g. Insulin

- Chemical method is either

- Not available

- If available too complex

- Insensitive to low doses e.g. Histamine can be bio assayed in microgram conc.

- Chemical composition of drug variable but has same pharmacological action e.g. cardiac glycosides isolated from different sources, catecholamine etc.

3. PURPOSE OF MICROBIAL ASSAY:

A good microbial assay will achieve two basic purposes:

- It verifies that the compound actually has the desired antimicrobial activity.

- It indicates the concentration of the antimicrobial agent needed to inhibit the target microorganism.

- In other words microbial assays are used to determine MIC and MLC of an antimicrobial agent.

4. PRINCIPLE OF MICROBIOLOGICAL ASSAY:

The underlying principle of microbiological assay is an elaborated comparison of the ‘inhibition of growth’ of the microbes by a measured concentration of the antibiotics under investigation against that produced by the known concentrations of a ‘standard preparation of antibiotic’ with a known activity.

5. REQUIREMENTS

5.1Apparatus:

- All equipment's should be clean.

- Glassware should be sterilized by dry heat or steam.

5.2 Temperature control:

- Temperature of assay plates.

- ± 5 0C of the temperature selected.

- For Turbid metric assay.

- ±10C of the selected temperature during incubation.

5.3. Spectrophotometer:

530nm-580nm.

5.4. Media

5.5. Buffers:

Potassium phosphate Buffers are required for antibiotic under assay. Buffers are sterilized after preparation and the pH is specified.

5.6. Units and reference standard:

Potency of antibiotic is designated in either units or “µg” of activity defined by Federal Master Standard for that antibiotic so USP reference standard is calibrated in terms of master standard.

5.7. Preparation of standard Solution:

“Standard preparation is the authentic sample of an appropriate antibiotic for which the potency has been precisely determined with reference to the appropriate international standard.”

- Store the stock solution duly in a refrigerator (+1C°to -5C°) and use within the specified period indicated.

5.8. Test organism:

- Specific ATCC number (ATCC stands for American test type culture collection) and susceptibility of that organism is tested against a particular antibiotic and in the same way, susceptibility of microbes against different antibiotic is known e.g.

- E-coli. Which has ATCC number 10536 is incubated in medium number I at 32-35 0C for 24 hours and here E-coli is tested against chloramphenicol (Antibiotic to be assayed).

Test organisms for antibiotics assayed

6. METHODOLOGIES:

In usual practice, two ‘general methods’ are employed extensively, such as:

6.1. Cylinder-plate (Cup-plate/Diffusion) Method.

6.2. Turbid metric (Tube-assay) Method.

Procedure:

Following is the procedure for standard assay:

6.1.	CYLINDER PLATE METHOD:

Diffusion method consists of the following steps.

6.1.1.	Preparation of media and inoculum.

6.1.2.	Preparation of medium for drugs.

6.1.3.	Preparation of sample and standard drugs.

6.1.4.	Incubation.

6.1.5.	Calculations.

6.1.1. PREPARATION OF MEDIA AND INOCULUM

- Suitable media is prepared.

- Suitable susceptible microorganism is selected.

- E.g., bacillus subtillusis used for test of streptomycin.

- The medium is then inoculated.

- The temperature of the medium should not exceed 48-50 0C.

- Then this media is put into previously sterilized Petri dishes up to 3-4mm depth.

- Media with inoculated organism is kept at a specific temperature (370C) for a given period of time.

- The medium is then removed and is dried at room temperature for 30 minutes or solidified in refrigerator.

6.1.2. PREPARATION OF MEDIUM FOR DRUGS

- The medium is holed i.e. holes of 5-8mm diameter are made with the help of sterile borer. These holes are used to add drugs to the medium.

6.1.3. PREPARATION OF SAMPLE AND STANDARD DRUGS

- The specific amount of sample and standard drugs are taken and are dissolved separately in sterile solvent to form solutions of sample and standard drugs.

- The pH is adjusted.

- Then sample and standard drugs are added by sterile pipette into separate holes previously made in the inoculated medium.

6.1.4.	INCUBATION

- The medium with the drug and organism is maintained at room temperature for 2-4 hours during which some diffusion of the antibiotic into the medium occurs.

- The plates are then incubated at a specific temperature for 16-36 hours.

6.1.5.	CALCULATIONS

- The diameters of the zones of inhibition are then used to determine the potency as well as MIC and MLC of the drug.

6.2. TURBIDIMETRIC METHOD:

Principle:

The Turbid metric method is a method to determine the antimicrobial potency of an antibiotic, based on the measurement of the inhibition of growth of microbial culture in a fluid medium. The inhibition of growth of test organism is photo metrically measured as changes in the turbidity of the microbial culture.

- TURBIDITY

- Turbidity is a simple, rapid method for bacterial growth.

- A spectrophotometer or calorimeter can be used for Turbid metric measurements of cell mass.

- A spectrophotometer is used to determine “turbidity”- ‘cloudiness’ by measuring the amount of light that passed through a suspension of cells.

- More cells = more turbidity = less light passing through the suspension.

- However, the culture to be measured must be dense enough to register some turbidity on the instrument.

PROCEDURE

- In this method MIC of a given compound bacterial specie is determined using a series of test tubes containing medium. In this medium the microbes will normally grow.

- Also each test tube contains progressively low concentration of test compound. Each tube is inoculated with the microorganism and after inoculation the tube in which thegrowth does not occur is noted. The tube containing the lowest concentration of the compound that prevents growth defines the MIC.

7. LABORATORY DETERMINATION OF MICROIAL SENSITIVITY TO ANTIBIOTICS:

Microbial sensitivity to drugs can be determined by various means, including ;

- Broth Dilution Test.

- Disk Diffusion Method.

- E test Method

7.1	Broth Dilution Test

- Tubes that contain a nutrient broth are inoculated with equal numbers of bacteria and serially diluted concentrations of an antibiotic. After that, the minimum inhibitory concentration (MIC) is determined as the lowest antibiotic concentration that prevents visible & viable growth of bacteria.

- Because of the MIC, the organism is classified as having susceptibility, intermediate sensitivity or resistance to the drug tested.

7.2	Disk Diffusion Method

- Each disk used in the disk diffusion method is impregnated with a different antibiotic. The disks are placed on agar plates seeded with the test organism.

- During the incubation period, the antibiotic diffuses from the disk and inhibits bacterial growth.

- After incubation, the zone inhibited by antibiotic is measured. The zone diameter for each antibiotic is compared with the standard values for that particular antibiotic.

- The organism is thereby determined to be susceptible, intermediate, or resistant to the various antibiotics tested.

7.3	E test Method.

- The E test strip is a proprietary device that uses a diffusion method to determine the MIC of an organism.

- The device is a plastic strip that is impregnated with a gradient of antibiotic concentrations. After the strip is placed on an agar culture of the organism, the culture is incubated.

- After incubation, a tear-shaped zone of inhibition is formed, The point of intersection between the zone of inhibition and the scale displayed on the strip is the MIC.

7. DEVELOPMENT OF ANTIBIOTIC

Development of an antibiotic involves a number of quantitative assays Steps:

- Fermentation

- Extraction

- In vitro studies

- In vivo studies

- Pharmacology

- Production & development

- Clinical Evaluation

- Market Control

All these steps are interrelated & assay can be performed at any step or may be each of the step as desired.

REFERENCES

- Pharmaceutical Microbiology by AshutoshKar

- Microbiology by Tortora.

- United states Pharmacopoeia

TRUE & FALSE

- There are 3 types of assay

Yes          No

Ans= yes

- MIC used to determine the effectiveness of anti microbial agent

Yes        No

Ans yes

- Microbial assay are not used to determine the MIC & MLC of an Substance

Yes           No

Ans No

- Microbial assay verifies the potency & efficacy of a substance

Yes        No

Ans yes

- The absorbance of spectrophotometer is 570-580nm

Yes       No

Ans No

- Stock Solution is conc. Solution

Yes      No

Ans yes

- Turbidimetric method also called diffusion method

Yes        No

Ans No

- Bacillus subtillus is used for test of streptomycin

Yes       No

Ans yes

- The hole for medium is 5-6 mm in diameter

Yes        No

Ans No

MCQS

- Assay is used to determine

- Purity

- Efficacy

- Potency

- None of above

- What are types of chemical assay

- Colorimetry

- Spectrophotometry

- Flouimetry

- All of the above

- Bio-Assay is used to determine

- Purity

- Efficacy

- Potency

- All of the above

- IF MIC is less then and equal to susceptible breakpoint bacteria is considered

- Susceptible

- Resistance

- Intermediate

- NONE

- Assay is needed when

- Active principle is known

- Chemical method available

- Chemical method too complex

- All of above

- Media not used in assay is

- Dextrose

- Sugar

- Peptone

- All of above

- ATCC no. 10536 is for

- E.COLI

- STAPHYLOCOCCUS AUREUS

- KLEBSIELLA PENUMONIAE

- MICROCOCCUS LUTEUS

- Microbial resistance can be determined by

- Tube assay

- Disk diffusion

- Cup diffusion

- All of above

- Development of an antibiotic involves a number of quantitative assays Steps:

- Fermentation

- Extraction

- In vitro studies

- In vivo studies

- All of the above

- E test strip is a proprietary device that uses a diffusion method to determine the

- MLC

- MIC

- All of above

- None Of above

Answers:

1 A

2 D

3 C

4 A

5 C

6 B

7 A

8 D

9 E

10 B