Chapter # 03

PHARMACEUTICAL APPLICATIONS OF MICROBIOLOGICAL TECHNIQUES

Subject:

Pharmaceutical Microbiology

Subject Supervisor:

Prof. Dr. Naveed Akhter

Department of Pharmacy

The Islamia University of Bahawalpur

Contents

- Antimicrobial Effectiveness Testing

- Particulate Matter

- Microbial Examination of Non Sterile Products

- Bio burden Estimation for Medical Devices

- Sterility Testing

- Bacterial Endotoxin Testing

- Fermentation

- Genetic Engineering

- Antimicrobial effectiveness testing (USP)

AET demonstrates effectiveness of preservative in a product. It is performed to confirm that preservatives added in a formulation will work as expected over time. Mostly used during formulation development and in stability programs.

- Product Categories

| Category | Product description |
| --- | --- |
| 1 | Injections, other parenteral including emulsions, otic products ,sterile nasal products and ophthalmic products made with aqueous bases |
| 2 | Topically used products made with aqueous bases or vehicles, non-sterile nasal products and emulsions, including those applied to mucus membrane |
| 3 | Oral products, other than antacids made with aqueous bases |
| 4 | Antacids made with aqueous base |

- Test Organisms

Candida Albicans, Aspergillus Brasiliensis, Escherichia coli

Pseudomonas aeruginosa, Staphylococcus aureus, Environmental Isolates

For parenteral, one might want to consider challenging with organisms associated with nosocomial infections.

- Microbial examination of non-sterile product

“The Microbial Limit Tests are designed to perform the qualitative and quantitative estimation of viable microorganisms present in samples”

Entitled “Microbiological Examination of Non-Sterile Products: Microbial Enumeration Tests” (TVAC) and “Microbiological Examination of Non-Sterile Products: Tests for Specified Microorganisms”

This test is designed to perform:

- Total Viable Count (TVC) of bacteria and fungi(Quantitative estimation)

- Enrichment for qualitative estimation:

Identification of microorganism by cultivating onselective media comparing ATCC/MTCC cultureof pathogen (Qualitative estimation)

- Quantitative estimation

There is two test carried for quantitative estimation:

- TBC (Total Bacterial Count)

- TFC (Total Fungal count)

Four Method are employed for this test:

- Filtration method

- Pour pate method

- Spread plate method

- Serial Dilution Method

Acceptance criteria for microbiological quality of non-sterile substances for pharmaceutical use

|  | TAMC(CFU/ g or CFU/ mL ) | TYMC(CFU/g or CFU/ mL ) |
| --- | --- | --- |
| Substances for pharmaceutical use | 10³ | 10² |

Tests for Specified Microorganisms (Pathogens)

In qualitative estimation, the pathogenic bacteria are detected under this test, which are following:

Escherichia coli, Pseudomonas aeruginosa, Staphylococcus aureus, Salmonella species, Candida albicans, Aspergillus niger

- Bio burden Estimation for Medical Devices

The term “bio burden” is commonly used to describe the population of microorganisms present on unsterilized material or products.The bio burden quantity and types of bio burden organisms present can impact the sterilization process of the material or product. Thebio burden estimation of a medical device generally consists of four distinct stages:

- Collection of microorganisms from the medical device.

- Enumeration of the collection sample containing recovered microorganisms.

- Bio burden characterization.

- Calculate the bio burden estimate.

Types of bio burden

- Air-borne bio burden: Due to organisms found in critical environment.

2. Water-borne bio burden: Due to use of unpurified water as an ingredient or during processing steps.

3. Surface-borne bio burden: Organisms present on surface of particular equipment and devices.

4. Personnel bio burden: Arising on account of improper personnel hygiene, clothing, cleanliness or sanitation.

- Sterility test

A test conducted to ensure the batch of products is sterile, or has been sterilized, meaning free of viable microorganisms (bacteria, yeast or mold). This test is applied to the substances, preparations or articles according to the pharmacopeia are required to be sterile.

Examples as parenteral, ophthalmic products, pulmonary drug delivery system and sterile medical devices as ocular inserts.  Sterility testing is used for bulk and final drug products, cell banks and raw materials.

- Medium used for sterility testing

1. Fluid thioglycolate medium (FTM)

2. Soya bean casein digest medium (SCDM)

- Methods:

There are two methods of sterility testing.

- Direct Inoculation Sterility Testing:

The test article is directly inoculated into two types of media to allow for the detection of both aerobic and anaerobic microorganisms. After inoculation, the media is incubated for 14 days with intermittent observations as well as a final observation at the end of the testing period to detect evidence of microbial contamination.

- Membrane Filtration Sterility Testing:

Sterile, enclosed units allow for the simultaneous filtration of the equal   volumes of test samples through two membrane filters.Samples are incubated in two types of media for 14 days, facilitating the detection of both aerobic and anaerobic microorganisms.

- Bacterial Endotoxin Testing

The bacterial endotoxins test (BET) is a test to detect or quantify endotoxins from Gram-negative bacteria using amoebocyte lysate from the horseshoe crab (Limulus polyphemus).

There are three methods for this test:

- Method A:   The gel-clot technique, which is based on gel formation.

- Method B: The turbidimetric technique, based on the development of turbidity after cleavage of an endogenous substrate.

- Method C:   The chromogenic technique, based on the development of color after cleavage of a synthetic peptide-chromogen complex. Unless otherwise indicated in the individual monograph proceeds by Method A. The test is carried out in a manner that avoids endotoxin contamination.

Kinetic assays are rapid and sensitive, allowing large numbers of samples to be screened quickly. However, the gel-clot method is the reference method.

- Fermentation

Any energy-releasing metabolic process that takes place under both anaerobic and aerobic conditions.

- Production of useful organic compounds

- Microorganisms are used in industry to produce a variety of organic compounds, including acids, growth stimulants, and enzymes.

- Production of important enzymes

- Currently, over two dozen types of microbial enzymes are in use, and several others are in the research or developmental stage.

- Among the important microbial enzymes used commercially are amylase, pectinase, and several proteases.

- Antibiotic production

- Penicillin was the first antibiotic to be produced on an industrial scale

- Antibiotic production may involve fermentation processes producing natural antibiotics or semisynthetic drugs.

- A typical fermenter may hold 110,000 liters of medium.

- E.g: Penicillin, Cephalosporin.

- Genetic engineering

Research in genetic engineering holds the promise of new strategies for cancer prevention, new diagnostic procedures for microbial diseases and genetic abnormalities, new methods to correct genetic disorders, new hormones, antibiotics, and vaccines, and a generally improved quality of life.

e.g: Human Insulin

True/False

1. Antimicrobial effectiveness testing (AET) demonstrates effectiveness of preservative in a product. (TRUE).

2. “Bio burden” is commonly used to describe the population of microorganisms present on unsterilized material or products. (TRUE).

3. There are five types of bioburden (FALSE).

4. Fluid thioglycolate medium (FTM) is a medium used for the Sterility testing of parenteral (TRUE).

5. The bacterial endotoxins test (BET) is a test to detect the quality of endotoxins in formulation (FALSE).

6. There are five categories of product (FALSE).

7. Antacids made with aqueous base fall in category 3(FALSE).

8. TFC Stands for Total Fungal Count (TRUE).

9. Surface-borne bio burden happen Due to organisms found in critical environment (FALSE).

10. Microbial enzymes used commercially are amylase, pectinase, and several proteases (TRUE).

MCQs

1. Injections, other parenteral including emulsions, otic products, sterile nasal products and ophthalmic products made with aqueous bases falls in which product category.

A. Category 1	                      C. Category 2

B. Category 3	          D. Category 4

2. 1. The best medium for the production of Penicillin is

A. Nutrient agar                         C. Corn steep liquor

B. Sulfite waste liquor                D. Whey

3. The outstanding example of traditional microbial fermentation product is

A. Vinegar                                   C. Penicillin

B. Citric acid                               D. Tetracycline

4. Basic principle in industrial microbiology is

A. Suitable growth conditions

B. Fermentation

C. Providing aseptic conditions

D. All of these

5. The capacity of laboratory fermentors is

A. 12–15 liters                                C. 2000 gallons

B. 500 liters                                    D. 10000 gallons

6. The bacterial culture prepared by pure culture method is

A. Inoculum                                    C. Suspension

B. Dilution                                       D. None of these

7. The major constituents in agar are

A. Fats                                             C. Amino acids

B. Polysaccharides                           D. Polypeptides

8. The principle in microbiological assays is

A. At certain range the concentration of growth factor will bear a linear relationship to the amount of nutrients added

B. Concentration of growth factor have a linear relationship with the growth of the organism

C. Both a and b

D. None of the above

9. Bacteria are more sensitive to antibiotics at which phase of growth curve?

A. Decline phase                     C. Stationary phase

B. Lag phase                            D. Log phase

10. Monoclonal antibodies are produced by

A. Hybridoma technology

B. Biotechnology

C. Fermentation Technology

D. None of these