Chapter # 06

Quantification of drug concentration in Biological fluids by Microbial assay

Presented to:

Prof. Dr. Naveed Akhter

Faculty of Pharmacy and Alternative Medicines

THE ISLAMIA UNIVERSITY OF BAHAWALPUR

Contents

• Introduction

• Preparation of Test

• Types of microbiological assay methods

1) Cylinder –plate method (Cup-Plate)

a) Principle

b) Procedure

2) Tube assay or Turbid metric method

a) Principle

b) Procedure

• Advantages

Quantification:

Quantification is the act of counting and measuring that maps human sense observations and experiences into quantities. Quantification in this sense is fundamental to the scientific method.

Microbiological Assay:

The microbiological assay is based upon a comparison of the inhibition of growth of microorganisms by measured concentration of antibiotics to be examined with that produced by known concentration of a standard preparation of antibiotic.

Biological Fluids:

These are “liquids originating from inside the bodies of living humans.”

Biological fluids can be excreted (such as urine or sweat), secreted (such as breast milk or bile), obtained with a needle (such as blood or cerebrospinal fluid), or develop because of a pathological process (such as blister or cyst fluid).

These include:

• Blood

• Saliva

• Urine

• Plasma

• Sweat etc.

Microbiological Assay Method:

“A practical procedure whereby the material of unknown potency is estimated by comparison of its effect in a biological system (culture of a microorganism) with that of a reference standard of known or defined potency.”

PREPARATION OF THE TEST

Culture media:

Media has to be prepared for the specified test organism for the ingredients listed in Pharmacopeia according to the individual requirement of the test organism.

Standard Preparation and Units of Activity:

A Standard Preparation is an authentic sample of the appropriate antibiotic for which the potency has been precisely determined by reference to the appropriate international standard. The Potency of the standard preparation may be expressed in International Units or in μg per mg of the pure antibiotic.

Preparation of the Standard Solution:

The stock solution isprepared by dissolving a quantity of the Standard Preparation of a given antibiotic as per Pharmacopeia.

Preparation of the Sample Solution

From the information available for the substance under examination, a stock solution is prepared as specified in Pharmacopeia.

Test Organism:

The test organism for each antibiotic is listed in Table, together with its identification number in the American Type Culture Collection (ATCC).

Temperature Control:

Thermostatic control is required at several stages of microbial assay when culturing a microorganismand preparing its inoculum and during incubation in a plate assay. Closer control of the temperature is required during incubation in a tube assay.

Spectrophotometer:

Measuring transmittance with in a fairly narrow frequency band requires a suitable spectrophotometer in which the wave length of the light source can be varied or restricted by the use of a 580nm filter for preparing inoculum of the required density or with a 530nm filter for reading absorbance in a tube assay.

Types of Microbiological Methods:

There are two main types.

1) Cylinder plate or cup plate method

2) Tube assay or Turbidimetric method

1) Cylinder plate or Cup Plate Method

Principle

The cylinder-plate method depends upon diffusion of the antibiotic from a vertical cylinder through a solidified agar layer in the petri dish or plate to and extend such that growth of the added micro-organism is prevented entirely in a zone around the cylinder containing a solution of antibiotic.

Procedure

i. The nutrient agar is melted, cooled suitably, poured into petri dish.

ii. Spread 0.2 ml of known concentration of inoculum on the surface of the solidified agar (Spread Plate Technique).

iii. Cups or cavities are made by using a sterile borer.

iv. Now 0.2, 0.4, 0.6, 0.8, 1.0 ml of sample is poured into the cups of agar plate and then incubated at 37˚C for 24 hr.

v. If the sample has any anti-bacterial effect it will show the zone of inhibition.

2) Tube Assay or Turbid metric Method:

Principle

This method depends upon the inhibition of growth of a microbial culture in a uniform solution of the antibiotic in a fluid medium that is favorable to its rapid growth in the absence of the antibiotic.

Procedure

• Prepare five different concentrations of the standard solution by diluting the stock solution of the Standard Preparation of the antibiotic.

• Select the median concentration and dilute the solution of the substance being examined (unknown) to obtain approximately this concentration.

• Place 1 ml of each concentration of the standard solution and of the sample solution in each of the tubes.

• To each tube add 9 ml of nutrient medium previously seeded with the appropriate test organism.

• At the same time prepare three control tubes, one containing the inoculated culture medium (culture control), another identical with it but treated immediately with 0.5 ml of dilute formaldehyde solution(blank) and a third containing uninoculated culture medium.

• Place all the tubes, randomly distributed or in a randomized block arrangement, in an incubator or water-bath and maintain them at the specified temperature for 3 to 4 hours.

• After incubation add 0.5 ml of dilute formaldehyde solution to each tube.

• Measure the growth of the test organism by determining the absorbance at about 530 nm of each of the solutions in the tubes against the blank

Advantage:

Main use of microbiological assay is in the determination of

- a) Growth-inhibiting substance e.g. antibiotics

- b) Growth-promoting substance e.g. amino acids and     vitamins.

TRUE /FALSE

- Thermostatic control is not required during preparation of inoculum. (False)

- A hypothetical method in which the material of unknown potency is estimated by comparison of its effect with that of a reference standard of known potency known as microbiological assay method.(False)

- Biological fluids are those ‘‘originating from inside or outside the bodies of  living humans’’. (False)

- Stock solution is prepared by dissolving the sample in to formaldehyde. (False)

- For each antibiotic the test organism can be randomly selected. (False)

- CSF  is a biological fluid as well as a neuronal fluid.(False)

- A Standard Preparation is a fictional sample of the appropriate antibiotic for which the potency has been precisely determined. (False)

- Temperature control is required when culturing a micro organism, preparing its inoculums and during incubation. (True)

- Quantification is the act of counting and measuring, that maps human sense observations and experiences into quantities. (True)

- Measuring transmittance with in a fairly narrow frequency band requires a suitable spectrophotometer.(True)

Multiple-choice questions

1. Microbiological assay is used for determination of

a) Antibiotics                             b) Amino acids & Vitamins

c) Carbohydrates                      d) Both a & b

Answer: (D)

2. In Turbidimetric method,after incubation add…ml of formaldehyde soln. to each tube.

a)0.3         b)0.1       c)1        d) None of these

Answer: (D)

3. ATCC number for tetracycline is…

a)9341          b)9763       c)12228     d)29737

Answer: (D)

4. How many types of microbiological assay methods.

a)2                b)3              c) 4              d) None of these

Answer: (A)

5. Microbiological assay is used for determination of.

a) Growth increasing substances e.g vitamins

b) Growth promoting substance e.g amino acid & vitamins

c) Growth stimulating substance e.g amino acid

d) All of these

e) None of these

Answer: (D)

6. For Neomycin,test organism and its identification no. is

a) Klebsiella pneuminae,1031

b)Klebsiella pneuminae,10031

c) Staphylococcus aureus,1031

d) Staphylococcus aureus,10031

e) None of these

Answer: (B)

7. In Spectrophotometer, we use.

a) 580nm filter for reading the absorption in a tube assay

b) 530nm filter for preparing inoculums of the required density

c) 580nm filter for preparing inoculums in a cup-plate method

d) 580nm filter for preparing inoculums of predefined density

e) None of these

Answer: (E)

8. The Potency expressed in.

a) IU               b)μg.mg         c)IU or μg.mg     d)All of these

e) None of these

Answer: (e)

9. Quantification is fundamental to the

a)Biopharmaceutical methods      b)Basics of biological assay

c) Scientific methods                        d) none of these

Answer: (C)

10. Cylinder-plate method is also called

a) glass-plate     b)cup-plate     c)cavity-filles     d) Both b&c

Answer: (B)