PRACTICAL ECTURES FOR SS-302 (INTRODUCTION TO AGRICULTURAL CHEMISTRY)

Session 1: General Laboratory Instructions

LABORATORY SAFETY MEASURES / HOW TO WORK IN LAB?

- As with any place of work, safety is an important consideration in soil-plant analysis laboratories, and one that is frequently overlooked.

- Safety is in the interest of the employees who work there and the organizations that operate the laboratories.

- All staff, irrespective of grade, technical skill or employment status should be briefed on all aspects of safety upon commencement of work.

- Periodic reminders of such regulations should be given to encourage familiarity with respect to regulations.

- General Attitude: Develop a positive attitude towards laboratory safety.  Observe normal laboratory safety practices. Maintain a safe and clean work environment. Avoid working alone.

- Instrument Operation: Follow the safety precautions provided by the manufacturer when operating instruments. Monitor instruments while they are operating.

- Accidents: Learn what to do in case of emergencies (e.g., fire, chemical spill, etc.). Firefighting equipment must be readily accessible in the event of fire. Periodic maintenance inspections must be conducted. Learn emergency First Aid. First Aid supplies are a necessity and laboratory staff should be well trained in their use. Replacement of expended supplies must take place in a timely fashion. Seek medical attention immediately if affected by chemicals, and use First Aid until medical aid is available. Access to eye-wash fountains and safety showers must not be locked. Fountains and showers should be checked periodically for proper operation.

- Chemicals: Use fume hoods when handling concentrated acids, bases or other hazardous chemicals. Do not pipette by mouth; always use a suction bulb. When diluting, always add acid to water, not water to acid. Many metals/salts are extremely toxic and may be fatal if swallowed. Wash hands thoroughly after handling such salts. Chemical spills should be cleaned promptly and all waste bins emptied regularly. All reagent bottles should be clearly labeled and must include information on any particular hazard.

- Furnaces, Ovens, Hot Plates / Handling Gas: Use forceps, tongs, or heat-resistant gloves to remove containers from hot plates, ovens or muffle furnaces. Cylinders of compressed gases should be secured at all times. A central gas facility is preferred.

- Maintenance: All electrical, plumbing, and instrument maintenance work should be done by qualified personnel. Fume hoods should be checked routinely. As most equipment’s operate on low wattage, an Uninterruptible Power Supply (UPS) provides stable power and allows the completion of any batch measurement in the event of power outage.

- Continuing Education: Display in a prominent place posters on "Laboratory Safety". Similarly, posters depicting First Aid after laboratories accidents should be prominently displayed. If the laboratory is a part of a large institution, the laboratory staff should know the Safety Officer or person responsible for safety. If it is a small operation, one laboratory staff member should be responsible for safety.

- Contamination: The most insidious enemy in any laboratory is contamination and, therefore, its sources must be identified and eliminated. Some common sources of contamination are: External dusts blown from the surrounding environment, Internal dust resulting from cleaning operations, Cross-contamination derived from handling many samples at the same time (e.g., handling plant and soil samples together), Failure to store volatile reagents well away from the samples, Washing materials, particularly soap powder and Smoking in the laboratory.

- Eating and Drinking: Do not eat, drink, or smoke in the laboratory. This is essential both for reasons of health and to reduce contamination. Specific areas should be designated for staff breaks. Do not use laboratory glassware for eating or drinking. Do not store food in the laboratory.

- Protective Equipment: Use personnel safety equipment as follows:

• Body Protection: Use laboratory coat and chemical-resistant apron.

• Hand Protection: Use gloves, particularly when handling concentrated acids, bases, and  	other hazardous chemicals.

• Dust Mask: Essentially needed when grinding soil, plant samples, etc.

• Eye Protection: Use safety glasses with side shields. Persons wearing contact lenses should   	always wear safety glasses in the laboratory.  Make sure that your colleagues know that you 	wear contact lenses.  Contact lenses should never be worn around corrosives.

• Full-Face Shield: Wear face shields over safety glasses in experiments involving corrosive 	chemicals.

• Foot Protection: Proper footwear should be used; sandals should not be worn in the 	laboratory Waste Disposal.

• Liquid Wastes: These should be poured carefully down a sink with sufficient water to dilute and flush it away. Keep in mind that local ordinances often prohibit the disposal of specific substances through the public sewerage system.

• Broken glassware: Dispose-off chipped or broken glassware in specially marked containers.

Session 2: Laboratory Equipment of Undergrad Laboratory: 							Flame Photometer: Used for the determination of K, Na, Ca, Mg, Li and Ba Protocol: 	Digested soil and plant material is aspirated and unknown concentrations of different 	elements is determined by using standard curve. 				Spectrophotometer: Used for the determination of nutrients, enzymes kinetics studies, 	microbial populations etc. on the basis of absorbance and transmittance properties.  	Autoclave: Used to sterilize equipment and supplies by subjecting them to high pressure 	saturated steam (15 psi) at 121 °C for around 15–20 minutes depending on the size of the 	load and the contents. Caution: Do not open the lid until pressure in 0 psi. While opening lid,    	stay away from the hot steam.									 	Laminar Flow Hood: Provides aseptic environment for microbiological work. It prevents 	contamination of biological samples, or any particle sensitive materials. Caution: Do not use 	when UV light is turned on Kjeldahl’s apparatus Used for determination of nitrogen in soil and 	plant samples.										 	Digestion Block: It is used for the digestion of soil and plant samples by using digestion mixture 	and conc. sulphuric acid.									  	Distillation Unit: It is used to liberate and capture the nitrogen in samples in boric acid solution 	by providing alkaline conditions that liberates nitrogen as ammonia gas captured nitrogen is 	determined by titration against 0.1N Sulphuric acid.  						Hot Air Oven: It is used for dehydrating the soil and plant samples. Plant samples are heated up 	to 67 0C, while soil samples are heated up to 105 0C. the salts are dehydrate in hot air oven 	through heated up to 105-120 0C.   								Muffle Furnace: is used for ashing of plant material Determines what proportion of a sample is 	non-combustible and non-volatile. Temperature ranges up to 1000 0C.				 	Water Bath (with shaker): It is used for controlled heating without flame for unstable and 	flammable substances. It is used to incubate samples in water at a constant temperature over a 	long period of time. 											Shaking Incubator:  Its application includes cell culturing, cell aeration, microbiology, 	metabolism studies, bacterial culture and solubility studies. The agitation at variable speeds 	effect the growth of cell culture. 							          	Electrical Conductivity Meter (EC Meter): It measures the electrical conductivity in a solution. In 	soil science lab it is used to measure the EC of water samples and soil extracts in order to 	describe the quality of water and soil. Caution: Handle with care as it is a fragile instrument.  	pH Meter: It measures the pH of any solution. For very precise work the pH meter should be 	calibrated before each measurement by using prescribed buffer solutions. Caution: Handle with 	extreme care as it is a fragile instrument.								Magnetic Stirrer: It is used to stir the solutions to dissolve solutes. It employs a rotating 	magnetic field to cause a stir bar immersed in a liquid to spin very quickly, thus stirring it. 	Mechanical Shaker: It is used to agitate the solutions to dissolve solutes or suspend the particles 	in the solution to prevent their settlement in bottom of the container. 			Moisture Analyser: It is used to determine the moisture contents in samples. It provides the 	measurement moisture contents automatically.

Session 3: Manures and Fertilizers

IDENTIFICATION OF MANURE AND FERTILIZERS:						Manure: Manures are obtained from animals or plants waste products and these are organic in 	nature. These are bulky material, having low analytical values and have no definite composition. 		Types of Manure: i. Farm Yard Manure. ii. Green Manure. iii. Poultry Manure. iv. Biogas and 	Biogas Slurry. v. SFC (Sugarcane Filter Cake rich in nutrients). vi. City and Municipal Wastes. 	Fertilizers:     Mined or manufactured material containing one or more than one potentially 	enrich essential plant nutrients in available form. Fertilizer refers to a soil amendment that 	guarantees the minimum percentages of nutrients (at least the minimum percentage of 	nitrogen, phosphate, and potash). Or Fertilizers are compounds given to plants to promote 	growth; they are usually applied either through the soil, for uptake by plant roots, or by foliar 	feeding, for uptake through leaves.

Difference between Manure and Fertilizer:							Manure: i. The word manure is derived from French word “manoeuvrer” meaning to work soil. 			 ii. Organic in nature and naturally occurring. 								iii. Manures are slow acting and have low analytical value. 						iv. Manures have no definite chemical composition and obtained from plants, animals  		      	       or human resources. 										v. Manures improve physical properties of soil and are bulky in nature. 				             vi. Manures supply almost all major essential plant nutrients. 					            vii. Examples: Farm Yard Manure, Green Manure, SFC, Poultry Manure, Compost, 			         	    Biogas Sullery, &  Municipal Wastes etc. 						Fertilizer:   i. Fertilizers derived from word “fertile” meaning soil. 						     ii. Inorganic in nature and are synthetic. 								    iii. Fertilizers are quick active and have high analytical value. 						    iv. Fertilizers have definite chemical composition (NH4)2Co and are manufactured 			         commercially. 											    v. Fertilizers do not improve in that way and are non-bulky in nature. 					   vi. Fertilizers supply only one or few essential plant nutrients. 						  vii. Examples: Ammonium Sulphate, DAP, Urea, Single Super Phosphate etc.

Types of Manure: 										1. Farm Yard Manure: It is a mixture of cattle excreta, urine and left over chopped fodders 	whish are heaped and decomposed anaerobically to form a well rotten black coloured manure. 	2. Green Manure: Growing leguminous crops up to flowering and then its rotavating in the soil 	is called green manuring. Jantar, gauar and dahancha crops are used for green manuring. It will 	add lot of organic matter in soil due to symbiotic association of rhizobium and legume roots. 	3. Compost Manure: Process of burying leaves and twigs of plants into soil and covering of this 	plant material with soil to facilitate the decomposition is called composting. The compost 	manure is generally used in gardens and small orchards.

Types of Fertilizers: 									            1. Simple or Straight Fertilizers: These fertilizers contain only declarable contents of only one major nutrients. e.g. urea, ammonium sulphate, MOP (muriate of potash). 		            2. Compound or Complex Fertilizers: These fertilizers as declarable amount of at least two of the major nutrients which are chemically combine during manufacture. Complex fertilizers are granular in nature. e.g. DAP, Nitrophas. 							            3. Mixed Fertilizers: In these fertilizers, straight fertilizers are blended physically and applications of three primary nutrients (N, P, K) are provided to crops. These fertilizers contain all three primary nutrients and are also termed as NPK fertilizers. But they cannot capture market due to their big cost.								            4. High Analysis Fertilizers: These fertilizers have more than 25% of total primary nutrients in their composition. e.g. Urea (46% nitrogen), Ammonium nitrate (26% nitrogen), Nitrophas (21% nitrogen, 21% P2O5), DAP (46% P2O5). 							            5. Low Analysis Fertilizers: These fertilizers having less than 25% of primary nutrients and are called low analysis fertilizers. e.g. Single Super Phosphate (18% P2O5). 		                          6. Complete Fertilizer: It has all three primary nutrients i.e. nitrogen, phosphorous & potassium Examples:  10-10-10, 15-30-15, 20-5-20. 						            7. Organic Fertilizer: An organic fertilizer refers to a soil amendment derived from natural sources that guarantees the minimum percentages of nitrogen, phosphate and potassium.  Or fertilizers which come from plant or animal matter and contains carbon compounds (composed of organic matter). They can be naturally occurring compounds such as peat or mineral deposits, or manufactured through natural processes (such as composting).

Fertilizers Grade: It refers to granted ingredient by manufacture on basis of lack analysis. It is the minimum quantity of nutrient present in fertilizers which is claimed by manufacturer common fertilizers are present in local market.

Fertilizer Analysis: By law, all products sold as fertilizer require uniform labeling guaranteeing the minimum percentage of nutrients.  The three-number combination on the bags of product identifies percentages of nitrogen (N), phosphate (P2O5), and potash (K2O), respectively.  For example, a 20-10-5 fertilizer contains 20% nitrogen, 10% phosphate, and 5% potash. 			                   Note: Phosphorus, P, is a primary nutrient in plant growth.  The word phosphate, P2O5, refers to the ionic compound containing two atoms of phosphorus with five atoms of oxygen.  The phosphorus content of fertilizers is measured in percent phosphate. The conversion between %P and %P2O5 is: 	%P = % P2O5 x 0.43     and       % P2O5 = %P x 2.29

Note: Potassium, K, is a primary nutrient in plant growth.  The word potash, K2O refers to the ionic compound containing two atoms of potassium with one atom of oxygen.  The potassium content of fertilizers is measured in percent potash. The conversion between %K and %K2O is: %K = %K2O x 0.83 %K2O = %K x 1.2

Session 4: Commercial Fertilizers available in Pakistan and their Physical Properties

- Urea [CO (NH2)2]: It is the most concentrated solid straight nitrogen fertilizer. Its prills or granules  are white in color and free flowing. Urea is readily soluble in water. It is manufactured through Haber-Bosch process in the industries from natural gas (CH4) and air at high temperature (400 to 500 °C) and high pressure (150 to 250 atm or bar) in the presence of metal [Fe] based catalyst. Favorable manufacturing, handling, storage and transportation economics make urea a competitive nitrogen source. It is more advantageous than ammonium nitrate due to less stickiness and cake formation, lack of sensitivity to explosion and less corrosion to handling and application equipment. It is organic in nature that makes it different from other synthetic nitrogen fertilizers. It contains 46 percent N in amide (NH2) form which is changed to ammonium (NH4+) in the soil. Because of its high water solubility, it is well suited for use in solution fertilizers or foliar sprays. Urea, though alkaline in initial reaction, leaves behind a slightly acidic effect in the soil after nitrification.

- Ammonium Sulphate [(NH4)2SO4]:  It is source of both nitrogen and sulfur that is less hygroscopic than ammonium nitrate. The strongly acid-forming reaction of ammonium sulphate makes it advantageous in high pH soils and for acid requiring crops. It contains low nitrogen content (21% N) compared to other sources. It is an economical source for sulfur as well.

- Ammonium Nitrate (NH4 NO3): The granules are grey or light brown in color. It contains NO3 and NH4 form of nitrogen in equal amount [26 % N; 13% NO3-N and 13% NH4-N]. It is hygroscopic in nature i.e. absorbs water that results in caking during storage. The whole fertilizer is not soluble in water but nitrogen portion of fertilizer is completely soluble making it appropriate for fertigation. It is less effective for flooded rice than urea or ammonium fertilizers. It is more prone to leaching and Denitrification than ammonium products.

- Nitrophos (NP): It is generally known as NP and is soluble in water. Its granules are brownish in color with a small depression on a side. Major part of country requirement is fulfilled by local production and Fatima Fertilizers, Multan contributes about 70% of total production. It contains 13% N and 13%P as P2O5.

- NPK Fertilizer: The fertilizer contains all the three primary nutrients in certain concentration for specific nutrition. The fertilizer has varying degrees of color. Three primary nutrient s are mixed together physically by the process of blending in dry conditions.

- Diammonium Phosphate [(NH4)2PO4]:  DAP is manufactured by reacting wet-process H3PO4 with NH3. It is available in the form of granules with various degrees of colors ranging from light grey to dark brown. It is also soluble in water and contains both ammonia and phosphorus in available form. Sometimes it is wrongly documented that DAP is not suitable for our soils due to its high pH at initial stage in soil. However, no impreical data is available to support this statement as the final reaction of DAP in soil is acidic. Moreover, soil buffering capacity of soil is very high due to access CaCO3 which regrets the statement of unsuitability of DAP for our soils. It contains about 18%N and 46% phosphorus as P2O5. The total country demand of DAP is not fulfilled through local production.

- Monoammonium Phosphate (NH4HPO4):   MAP is a high grade fertilizer and contains 11% N and 52% P2O5  and available in the form of fine crystalline powder of whitish color. It is also manufactured by reacting H3PO4 with NH3. Almost all of its demand is fulfilled through export.

- Single Super Phosphate (SSP): This is form of phosphatic fertilizer that is available in granular and powder form. It is grey to light brown in color. It contains large amount of CaSO4.2H2O (gypsum) as filler / carrier. Due to calcium availability, its application in sodic soil is more beneficial where gypsum plays its role as amendment. It is completely soluble in water. It contains 16% phosphorus as P2O5 and 12% sulfur. In Pakistan, The SSP is considered as the cheapest source of phosphate content. Being acidic in nature it is supposed to be the best phosphate fertilizer for Pakistan’s alkaline soils especially salt-affected soils.

- Triple Super Phosphate (TSP): It is concentrated form of phosphatic fertilizer and also available in powder, granules form. Its color is off white it is also soluble in water. The granulated form of TSP and SSP are preferred due its application and storage. It contains 46-48% phosphorus as P2O5 and 1.5% sulfur.

- Sulphate of Potash (K2SO4) The SOP is available in white color crystalline salt. It is soluble in water. It is recommended for chloride sensitive crops in world. It is also preferred in soil with high chloride contents this fertilizer is not produced in Pakistan due to its high cost and less demand. It contains 50-52% potassium as K2O and 18% sulfur.

- Muriate of Potash (KCl) : The MOP fertilizer is available in crystalline salt of orange color and is completely soluble in water.it is recommended to all types of crops in Pakistan as a source of potash except chloride (cl-1) sensitive crops like potato, tomato and tobacco. It is also preferred in soils where chloride accumulation can be problem. It contains 60% potassium as K2O.

- Zinc Sulphate (ZnSO4.H2O): Zinc sulphate is colorless crystalline solid and is soluble in water. It is most commonly use Zn source in Pakistan. It contains 21-23% Zn. The other sources of Zn are chelated-Zn (FeZn-EDTA), ZnO and Zinc phosphate.

TABLE 1: NUTRIENT PERCENTAGE IN CHEMICAL FERTILIZERS

Product			         Nitrogen % 	Phosphate % 	      Potash %

Ammonium Nitrate 		26 			0 		0

Ammonium Sulfate 		21 			0 		0

Urea 				46			 0 		0

Di-Ammonium Phosphate (DAP) 18 			46 		0

Mono-Ammonium Phosphate 	11			52		0		        (MAP)

Nitrophos			21			21		0

Triple Super-Phosphate (TSP) 	0 			46 		0

Single Super Phosphate 		0 			18 		0

Potassium Chloride 		0 			0 		60

Potassium Nitrate 		13 			0 		44

Potassium Sulfate 		0 			0		 50

Session 5: Determination of Nitrogen in Fertilizer

Equipments/Apparatus: Kjeldhal’s digestion & distillation apparatus, 500ml conical flasks,  	10 ml Pipette(Bulb type), 50 ml burette and wash bottle.

Reagents: Reagents:  Kjedahl catalyst or digestion mixture [(mix 9 part of potassium sulphate 	(K2SO4) with1 part of copper sulphate (CuSO4)], concentrated sulfuric Acid (H2SO4), 0.1 N 	H2SO4, 40% NaOH solution, 4% H3BO3 solution (for receiver), mixed indicator (mix 100 ml 	of 0.1% methyl red in 95% ethanol with 200 ml of 0.2% bromo-cresol green in 95% ethanol).  	Procedure: 											a. 	For organic fertilizers e.g Urea:								      	Weigh accurately 0.5 g sample and transfer to the digestion tube. Add 1.0 g of digestion mixture 	Add 10-12 ml of concentrated sulfuric acid to the digestion tube. Place the tube in the digestion 	block. Continue heating for at 400 oC at least 2 hrs. until the contents of tube changes from 	black to light green or straw yellow or water white. Remove the digestion tube from digestion 	block and cool. Now sample is ready for distillation on distillation apparatus.

b. 	For Inorganic N fertilizer e.g. Nitrophos or CAN:						    Weigh accurately 0.5 g N-containing fertilizer sample in the digestion tube. Place the tube on distillation apparatus. If NO3-Nitrogen needs to be determined , add 1.0 g Devardo’s alloy in the digestion tube along with the fertilizer sample. Distillate the material on distillation unit of the apparatus, by putting 10 ml 40% NAOH and 10 ml distilled water to the digested material in the distillation tube. The whole nitrogen has now been converted to NH3 gas, which will be collected in the receiver containing 4% boric acid and an indicator. After complete distillation, all nitrogen will be captured in the receiver as ammonium borate. Titrate it against 0.1N standardized sulfuric acid from golden 	yellow to purple end point.

Calculations: 		% N = ML of 0.1N sulfuric acid used X 0.282

Where 0.282 is universal factor and its calculation is given in following text.	 						1 ml of 1 N H2SO4 = 0.0141g N										1ml of 0.1 N H2SO4 = 0.00141 g N 					  			      If  0.1 N H2SO4 used in back titration = C ml 				Then C ml of 0.1 N H2SO4 contains N = 0.00141 g N x C  (where C is mL of 0.1N H2SO4 used) 					Therefore %N = C x 0.00141 X 100/w  (A-B) = C 					Where A = ml of 0.1N H2SO4 used for sample titration, B = ml of 0.1 N H2SO4 used for blank  and 				  	W = weight in gram of fertilizer sample used.

Cautions:  Always run blank for accuracy of results.

Reference: Method # 970.037 AOAC. Official Methods of Analysis (1990)

Session 6: Determination of Phosphorus in Fertilizer

Equipments/Apparatus: 100 ml volumetric flask, 100 ml beaker,  10 ml bulb type pipette, 10 ml 	graduated pipette, 250 ml conical flask, Bunsen burner,  wash bottle, Whatman No.42 filter 	paper, funnel with stand, litmus paper and weighing balance.

Reagents: (a) Concentrated Nitric Acid (b) Ammonium Molybdate Solution, 3 % (c) Ammonium 	Nitrate Solution 50 % (d) Phenolphthalein indicator (e) Standardized 0.1 N Sulphuric Acid (f) 	Standardized 0.1 N Sodium Hydroxide

Procedure: Weigh accurately 0.5 g phosphatic fertilizer in 100 ml glass beaker. Grind it and pass through 100 mesh size sieve. Add at least 50 ml distilled	water and boil for 1-2 minutes. After cooling, transfer the contents to100 ml volumetric flask 	and make volume up to mark with distilled water. Filter and take 10 ml solution in a 250 ml conical flask. Add 5 ml concentrated nitric acid and 15 ml 50 % ammonium nitrate solution. Heat the contents at 60 degree centigrade and then add gradually 50 ml 3% ammonium molybdate solution. Shake the conical flask during molybdate solution addition. Yellow precipitate of ammonium phosphomolybdate will form depending on the concentration of phosphorus present in the given fertilizer sample. Stay for one night. Next day filter the yellow precipitates using Whatman No. 42 and wash with ice cold distilled water till acid free. Indication of acid free precipitate is that blue litmus paper will not turn red. Now transfer the acid free precipitates along with filter paper into the same conical flask. Care should be taken that the same conical flask should also be acid free. Dissolve the precipitates completely in 0.1N sodium hydroxide, by adding 10ml each time. Note the amount of alkali used. Now add 2-3 drops of phenolphthalein indicator to the same conical flask. Pink color will develop. Titrate against 0.1 N sulphuric acid with continuous shaking till colorless end point. Note the volume of sulphuric acid used.

Calculations:  		% P2O5 = 0.000309 x X-Y x 100 x 100    10x0.5 			    	Where X = 0.1N NaOH used to dissolve precipitate  Y = 0.1N H2SO4 used for back titration.

Cautions / Safety Requirements: Always run a blank REFERENCE / RELATED DOCUMENTS:

Reference: Method # 970.01 OMA. 15 Addition. Kjeldahl Plant Analysis Handbook, USA.

Session 7: Determination of Potassium in Fertilizer

Equipments/Apparatus: Flame photometer, Electronic balance, Volumetric flask, Pipette and 	Wash bottle

Reagents: Stock solution of 1000 ppm K:  weigh 1.9103 g potassium chloride in 1 liter of water.

Procedure: Dissolve 1.0 g ground potassium fertilizer materiel in 1000 ml distilled water. Shake 	well to dissolve. Filter the solution. Take readings of the filtrate on flame photometer using 	standard curve procedure. Use appropriate dilution factor in calculation. 				Preparation of working standard solution: Stock solution so prepared will be used for the 	preparation of working standard solutions by using formula  C1V1 = C2V2

Where    C1 = Concentration of stock solution in ppm    								  V1 = Volume to be taken of stock solution in ml     							  C2 = Concentration of K to be required in ppm    							  V2 = Total volume to be required in ml

Working standard solution can be prepared of 10, 20, 30 to 100 ppm concentration.

Calculations:  		% K2O  =  K (ppm) x dilution Factor x 1.2046   						 		If 1.0 g fertilizer sample is taken then dilution factor will be 1000 				So            K (ppm) x 1000 x 1.2046  									Therefore    % K2O = K (ppm) x 0.12046  					Reference: Method # 971.01  AOAC. Official Methods of Analysis (1990)

Session 8:  Determination of Moisture Contents

Procedure: Dry the empty dish and lid in the oven at 105°C for 3 h and transfer it to desiccator 	to cool. Weigh the empty dish and lid. Weigh about 3 g of sample to the dish and spread the 	sample 	in dish uniformly. Place the lid on to the dish and place the dish with sample in an oven. 	Dry at 105°C for 3 hrs or up to constant weight. 								After drying, transfer the dish with partially covered lid to the desiccator to cool. Reweigh the 	dish and its dried sample.

Calculation: 		Moisture (%)  =  (W1-W2) × 100

Where 	W1 is the weight (g) of sample before drying and							W2 is the weight (g) of sample after drying

Reference:	AOAC, 2000: Method 1

Session 9: Determination of Protein Contents

Equipments/Apparatus: Kjeldhal’s digestion & distillation apparatus, 500ml conical flasks,  	10 ml Pipette(Bulb type), 50 ml burette and wash bottle.

Reagents Kjeldahl catalyst or digestion mixture [(mix 9 part of potassium sulphate (K2SO4) with 1 	part of copper 	sulphate (CuSO4)], concentrated sulfuric Acid (H2SO4), 0.1 N H2SO4, 40%NaOH 	solution, 4% H3BO3 solution (for receiver), mixed indicator (mix 100 ml of 0.1% methyl red in 	95% ethanol with 200 ml of 0.2% bromo-cresol green in 95% ethanol).

Procedure:  Weigh accurately 0.5 g sample and transfer to the digestion tube. Add 1.0 g of 	digestion mixture Add 10-12 ml of concentrated sulfuric acid to the digestion tube. Place the 	tube in the digestion block. Continue heating for at 400 oC at least 2 hrs. until the contents of 	tube changes from black to light green or straw yellow or water white colored solution. Remove 	the digestion tube from digestion block and cool at room temperature. Now sample is ready for 	distillation. Distillate the material on distillation unit of the apparatus, by putting 10 ml 40% 	NAOH and 10 ml distilled water to the digested material in the distillation tube. The whole 	nitrogen has now been 	converted to NH3 gas, which will be collected in the receiver containing 	4% boric acid and an indicator. After complete distillation, all nitrogen will be captured in the 	receiver as ammonium borate. Titrate it	against 0.1N standardized sulfuric acid from golden 	yellow to purple end point.

Calculations: 		% N = ML of 0.1N sulfuric acid used X 0.282								% Protein = % N X 6.25							Where 0.282 is universal factor in N determination

Cautions:  Always run blank for accuracy of results.

Reference: Method # 970.037 AOAC. Official Methods of Analysis (1990)

Session 10: Determination of Ash Contents

Equipment and Apparatus: Muffle furnace, desiccator, crucible with lid and weighing balance.

Procedure: Place the crucible and lid in the furnace at 550°C overnight to ensure that impurities 	on the surface of crucible are burned off. Cool the crucible in the desiccator (30 min). Weigh the 	crucible and lid up to 3 decimals. 									Now, weigh 5 g sample into the crucible. Heat over low Bunsen flame with lid half covered. 	When fumes are no longer produced, place crucible and lid in furnace and heat at 550°C for	overnight. During heating, do not cover the lid. Place the lid after complete heating to prevent 	loss of fluffy ash. Cool down in the desiccator. Then weigh the ash with crucible and lid when the 	sample turns to gray. If not, return the crucible and lid to the furnace for the further ashing.

Calculation:    	Ash (%)  =  weight of ash --- weight of sample  × 100

Reference: 	Method #  AOAC. Official Methods of Analysis (1990)