# PRINCIPLE AND USE OF PSYCHROMETERY :

# PSYCHROMETER : psychrometer are instrument use to measure the relative  humidity of air .

# TYPES OF PSCHROMETRY : There are two types of psychrometer .

- SLING PSYCHROMETER.

- ASPIRATED  PSYCHROMETER

# Psychrometery:  The use of phychrometer is called psychrometry .

# Use of psychrometery:  psychrometer measurs humidity in general enviornment or in specific condition like chamber .

# psychrometer is also used in laboratory settings in oder to determine the precies measurement for experiment and  chemical in reaction

# principle of psychrometer: psychrometer measure the ralative humidity in air . Psychrometer consist of two thermometer . wet bulb thermometer and dry bulb thermometer

# DRY BULB THERMOMETER : The dry bulb thermometer is used to measure the temprature by being exposed to air .

# WET BULB THERMOMETER : The wet bulb thermometer is kept wet by mean of clothe wick , so that cooling result from evaporation makes it a lower temprature than dry bulb thermometer . When reading are taken simultaneously it is possible to determine relative humidity by comparing temprature of both thermometer

# Measurement of water relation parameters .

# Followings paprameters are used in measurement of water potential .

# PRESSURE CHAMBER METHOD  : using pressure chamber water potential can be measured in minutes . The apparatus is is also relative  less expensive . The method is especially suited for feild studies .

# VAPOUR EQUILIBRIUM METHOD : The vapour pressure is measured with the help of thermocouple psychrometer.This is an accurate method to measure water potential .

# VAPOURE    IMMERSION   METHOD : This method is based on fact that when plant tissue is placed in an atmosphere in which water vapour is maintained  at constant pressure , there will be a net transfer of water between tissues and the sorrounded atmosphere till an equilibrium is reached . The difference in water potential of the tissues and the environment will determined the quantity of water transferred.

# ELECTRICAL RESISTANCE BLOCK . Electrical resistance blocks sometimes referred as gypsum blocks , are an inexpensive and simple soil moisture measurement tool .

# TENSIOMETER : A tensiometer  is measuring instrument is used to measure the matric potential .This device typically consist of a glass tude with a porous ceramic cup , and is fiiled with water . The top  of the tube  has a built in vaccume gauge , which used a hydrodermic needle to measure the pressure inside the tensiometer .The tensiometer is buried in soil and hand pump is used  to pull a partail pump . As water is pulled out of the soil by plants and evaporation , the vaccume inside the tube increase. As water is added in soil , the vaccume inside the tube tube pulls moisture from the soil   and decreases As water in the tensiometer is cosidered to be equilibruim with soil water , the guage readings of tensiometer represents the potential of soil.