Topic:major  techniques  used to study plant water relation

- Pressure chamber

- Osmometer

- Psychrometer

- Co2 flux resistance/conductance during gradient

- Contents

- Definition

- History

- Principle

- Advandage and disadvandage

- Summary

- Refrence

Pressure chamber

Definition:

Pressure chamber is an instrument which is used to measure the water potential of plant tissues.

History:

This method is discovered by Henry Dixon

Three basic principles:

- First the pressure chamber measures tension in xylem and cell wall.

- Second the measurements require equilibrium between the pressure and xylem.

- Third applied pressure raises the water potential in the tissues.

Procedure:

After checking t he pressure chamber and seal in good condition clean and dry check that incoming gas will enter close to the bottom. Covers the bottom with the water make a baffle to prevent water from splashing on to tissue. Cover  the walls with filter paper. Connect a cylinder of compressed air to the glass line. Select the sample avoiding damaged tissue. Excise the tissue with razor blade and assembler the chamber. Work in low light to avoid heating and dehydration. Then the tissue is close in a plastic bag to retard evaporation. After that apply small amount of pressure and check

The pressure slowly. Observe the cut surface the tissue as  pressure is being applied and then xyiem solution returned by the pressure. Increase the pressure until liquid is standing on cut surface. Now pressure is reduce and allow the liquid pulled  into tissue. Finally water potential of plant tissue is measured.

Advantages:

- Pressure chamber is commercial ly available and used  widely.

- Precise temperature and control is needed. care also is necessary for accurate reading.

Disadvantages:

- chamber is not well suited to measurement of small plant such as grass.

- Chamber used non combustible gas.

Osmometer

Definition:

It is a device for measuring the osmotic strength of solution ,colloid or compound.

Osmometery:

Is a technique for measuring the concentration of a solute particle that reduce the vapour

Of a Pressure solution.

Osmotic pressure:

Is the pressure which needs of the tendency of a solution to prevent the inward flow of water across semipermiable membrane.

Types:

1. Boiling point elevation: Boiling point elevation is not useful for clinical samples because proteins will coagulate causing gross changes in sample composition.

2. Freezing point depression osmometer: the freezing point of a solution is related to the osmotic concentration of that solution.

If concentration of the solute is increased it will lower its freezing point.

3. Vapour pressure osmometer:

Measurement related to the decrease in dew point of temp of pure solvent caused by decreased in vapour pressure of solvent by the solute.

Drawback: measurement of any of volatile in serum not better.

Hence not recommended for clinical laboratory.

Psychrometer

It is an instrument that is used to measure the amount of humidity in atmosphere.

Psychrometer contains following parts:

- Dry bulb thermometer

- Wet bulb thermometer

Discovery:

It was discovered by German inventor Ernst Ferdinand August in 1818.

Introduction:

It is used to measure the relative humidity in air.

The dry bulb thermometer is used to measure the temperature by exposing to air.

The wet bulb thermometer is kept wet by wet cloth wick, it causes cooling result from evaporation makes it lower temperature then dry bulb thermometer. The readings are taken to determine the relative humidity by comparing the temperature of both thermometer.

Types of Psychrometer:

- Sling Psychrometer

It is simple to operate and reads measurement.it is easy and affordable way to measure relative humidity accurately. The end of Psychrometer and fill the reservoir with water.the wick is saturated with water and cover the mercury reservoir on the dry bulb thermometer is dry. Hold the tube and whirl the body two to three revolutions per second. Continue whriling until the temperature stabilizes. Stop whriling and read the temperature of the wet bulb and dry thermometer. The relative humidity is measured by the temperature difference between two thermometer.

Carbon dioxide fluxes-resistance \conductance during gradients

For photosynthesis to occur, carbon dioxide must diffuse from the atmosphere into the leaf and into the carboxylation site of rubisco. Because diffusion rates depend on concentration gradients, appropriate gradients are needed to ensure adequate diffusion of carbon dioxide from leaf surface to the choloroplast.

The cuticle that cover the leafs is nearly impermeable to co2 so the main part of entry of co2 into the leaf is the stomatal pore. Co2 diffuses through the pore into the sub-stomatal  cavity and into the intercellular air spaces between the mesophyll cells. This portion of the diffusion path of co2 into the chloroplast is a gaseous phase. The remainder of the diffusion path to the chloroplast is a liquid phase which begains at the water layer that  wets the walls of the mesophyll cells and continues through the plasma membrane the cytosol and the chloroplast

In air of high relative humidity the diffusion gradients that drives water  loss is about 50 times larger then the gradients that derives CO2 uptakes. In drier air this gradient can be even larger. Therefore, a decrease in stomatal resistance through the opening of stomata facilitates higher CO2 uptake but is unavoidably accompanied by substantial water loss.

There is also a resistance to CO2 diffusion in the air spaces that separate the substomatal  cavity from the wall of mesophyll cell, called the intercellular air space resistance. This resistance is also usually small.

References:

Plant physiology – Taiz & Zeiger

Book 3rd edition.

William G. Hopkins , Norman P.A Hunter , (2009)INTRODUCTION TO PLANT PHYSIOLOGY.